CPSC 3720 Assignment #2 - Fall 2025: Sample Project 1

Team Members:

- Jiwon Jeon: Data Analysis & Visualization

- Chloe Lee: Data Processing & Computation

- Vergil Phan: Report Design & Documentation

Repository:

GitHub – AESO Renewable Forecast Analysis (August 2025)

📈 AESO Renewable Forecast Analysis — August 2025

- Overview

This project analyzes renewable energy forecast accuracy for Alberta (AESO) during August 2025, focusing on the relationship between solar and wind forecast performance and overall grid stability.

Data Sources:

- Solar_Data_2025_Aug.csv, Wind_Data_2025_Aug.csv — Forecast & Actual Data

- CSD Generation (Hourly) - 2025-08.csv — Total System Supply

Objectives:

- Evaluate forecast accuracy of solar and wind energy

- Assess total system supply variability (24-hour rolling standard deviation)

- Explore correlation between renewable forecast error and system volatility

- Key Results

Metric											 Solar	        Wind

Mean Absolute Percentage Error (MAPE)						17.5%	        11.2%

Mean Absolute Error (MAE)								42.8 MW	       31.6 MW

Forecast Coverage (within range)							78.0%	        86.0%

- Wind forecasts were more stable and consistent than solar forecasts.

- Solar accuracy dropped notably during sunrise (7–9 AM) and sunset (6–9 PM).

- Most actual outputs (70–85%) fell within the predicted forecast range.

- Visual Findings

Figure 1.Solar and Wind Forecast vs Actual (2025-08)

- Red = Solar, Blue = Wind

- Wind forecasts align closely with actual outputs.

- Solar shows visible deviations during transitional light periods.

Figure 2. Total Supply & 24-Hour Rolling Variability

- Orange line = Volatility (Rolling Std)

- Peaks in volatility correspond with increased forecast error.

- Stable supply days (< 10% MAPE) show reduced variability.

Figure 3.Stability Comparison hourly

- Top – Yellow: Total Supply 24H Rolling Std

- Middle – Red : Solar Absolute Error (AE)

- Bottom – Blue: Wind Absolute Error (AE)

Figure 4.Stability Comparison Daily

This comparison reveals a negative correlation between supply stability and forecast error—periods with high variability tend to coincide with larger solar deviations, while wind remains more stable.

- Insights

- Wind energy shows higher predictability and resilience to supply fluctuations.

- Solar generation is more sensitive to transient weather and irradiance variability.

- Volatility-aware forecasting could reduce solar prediction errors.

- Monitoring supply variability enhances grid stability and forecasting reliability.

- Recommendations

- Integrate localized weather & irradiance data into solar forecasting models.

- Employ ensemble hybrid models (statistical + ML) for adaptive prediction.

- Implement rolling-window volatility dashboards for real-time operational alerting.

- Use automated pipelines for continuous data ingestion and monthly retraining.

- Deliverables Summary

- Conclusion

Wind forecasting achieved higher accuracy and greater stability than solar in August 2025. System volatility strongly influenced solar forecast errors, emphasizing the need for volatility-aware modeling. Wind energy contributed more consistently to grid stability, while solar performance can be improved through better irradiance modeling and predictive adaptability.

- Folder ready for submission:

- References / Data Source

Alberta Electric System Operator (AESO). Market and Operations Data. Retrieved Oct 2025 from https://www.aeso.ca/market/operations/

Python Libraries: pandas v2.2, matplotlib v3.8, numpy v1.26.